## By expt
Item | company | details | part num | quant | unit cost | total cost | Notes
Photon Counting
Photon counters | ALPhA www.advlab.org | One set of (4) Single-Photon Counting Modules (Excelitas), for educational use | SPCM-EDU CD3375 | 1 | 6000 | 6000 | I have found ALPhA to be an unreliable supplier. If you have trouble getting these detectors, use the ones from Digikey, below.
Photon counters | Digikey.com | Excelitas SPCM-AQRH-50-FC | SPCM-AQRH-50-FC | 4 | 2700 | 10800 | alternative if you can't get the ALPhA detectors
power supplies for photon counters | Digikey.com | 5V, 3A wall wort | SWI18-5-E-P6R | 4 | 12.25 | 49
fiber patch cable | Fibertronics | 1MM 62.5 miccron, duplex | PC-HH6D30V01M | 4 | 7.1 | 28.4 | There are 2 patch cables toegether, you can tear them appart. For the final link between the RG780 filters and the SPCM's, wrap the fiber in black tape to keep our stray background light.
Surge protector |  | computer-type surge protecting power strip for SPCM power supplies |  |  |  | 0
Coincidence unit | http://reddogphysics.com/ | coincidence unit | cd48 | 1 | 300 | 300 | This unit is easy to use and works reasonably well. It has a coincidence window of 40-50ns, which means you'll probably want to subtract accidental counts
FPGA coincidence unit | www.terasic.com | FPGA | DE2-115 | 1 | 700 |  | This unit has an 8 ns coincidence window, so you get less background and lower g(2) values. But you have to install the software (available from my website) and build a box to get the signals in.
Computer with LabVIEW | [5 empty] | 0
Optical table or breadboard |  | 4x6 is luxury, 3x5 is sufficient. 3x4 might work, but I think you'd be cramped |  |  |  | 0
0
0
Down Conversion | [5 empty] | 0
Violet laser - 405 nm, > 50 mW, runs on 12VDC |  | laser with TEC and power supply |  | 1 |  |  | I no longer give a specific source, because these companies come and go. You can get 500mW (which is A LOT of power--turn the power down to 100 mW or so) laser modules for < $100, just do a web search. Sometimes sold as laser engravers.
laser power supply | your favorite supplier | wall wart power supply
Mount for laser | You'll need to build something
Beam block for violet laser | Thorlabs |  | LB1 | 1 | 51 | 51
2 turning mirrors for violet light, with mount | Thorlabs |  | KM100-E02 | 2 | 106 | 212
iris for defining violet beam | Thorlabs |  | ID12 | 1 | 48 | 48
Violet half-wave plate | Newlightphotonics.com |  | WPA03-H-405 | 1 | 309 | 309
Mount for violet half-wave plate | Thorlabs |  | RSP1D | 1 | 95 | 95
Down-conversion crystal (long crystal for single-crystal expts) | Newlight Photonics | BBO: 5x5x3 mm, theta = 29.3 deg, Type I PDC, cone angle 3 deg, AR coated at 810/405 nm, mounted 1" anodized Al holder | NCBBO5300-405(I)-HA3 | 1 | 599 | 599
Mount for down-conversion crystal | Thorlabs |  | KM100 | 1 | 40 | 40
Linear polarizer | Thorlabs |  | LPNIRE100-B | 1 | 119 | 119
rotation stage for linear polarizer | Thorlabs |  | RSP1D | 1 | 94.61 | 94.61
base | Thorlabs | base | BA1 | 8 | 6 | 48
2" post | Thorlabs | 2" post | TR2 | 8 | 5 | 40
2" post holder | Thorlabs | 2" post holder | PH2 | 8 | 8 | 64
Laser Safety glasses | lasershields.com | the YLW filter eliminates the strong blue pump, but allows you to see the 810nm alignment laser. To eliminate that as well, get filter CYN | Filter: YLW | 1 | 96 | 96
Alignment Laser
808nm laser diode module |  | 10mW, runs on a few VDC |  | 1 |  |  | again, these suppliers come and go. You can find an 808nm laser module for just a few 10's of $'s
3V DC power supply | your favorite supplier | wall wart power supply
adapter | Thorlabs | adapter for laser | AD12F | 1 | 30 | 30 | The exact adapter you need will depend on your laser module
fiber coupling lens | Thorlabs | FC connector fiber coupling lens | F220FC-780 | 1 | 160 | 160
mount | Thorlabs | Kinematic mount | KC1-T | 1 | 95 | 95
adapter | Thorlabs | adapter for coupling lens | AD11F | 1 | 29 | 29
cage rods | Thorlabs | Cage assembly rod - 3" (4 pak) | ER3-P4 | 1 | 25.83 | 25.83
plate | Thorlabs | Threaded Cage Plate | CP02 | 1 | 17 | 17
lens tube | Thorlabs | Lens Tube 1" | SM1L05 | 1 | 13 | 13
base | Thorlabs | base | BA1 | 1 | 6 | 6
2" post | Thorlabs | 2" post | TR2 | 1 | 5 | 5
2" post holder | Thorlabs | 2" post holder | PH2 | 1 | 8 | 8
fiber patch cable | Fibertronics | 1MM 62.5 miccron, duplex | PC-HH6D30V01M | 1 | 7 | 7
Fiber-Coupled Detectors (4-channel)
Lens | Thorlabs | 11mm fl, 780 nm, fiber-coupled lens | F220FC-780 | 4 | 160 | 640
lens adapter | Thorlabs | adapter for coupling lens | ad11f | 4 | 20 | 80
1" mount for fiber lens | Thorlabs | kinematic mount | KM100T | 4 | 67 | 268
FC/PC to FC/PC Dual L-Bracket Mating Sleeve, Wide Key | Thorlabs | for swapping with alignment laser | ADAFCB2 | 5 | 56 | 280
irises for defining downconversion beams | Thorlabs |  | ID12 | 4 | 47.69 | 190.76
base | Thorlabs | base | BA1 | 8 | 6 | 48
2" post | Thorlabs | 2" post | TR2 | 4 | 5 | 20
2" post holder | Thorlabs | 2" post holder | PH2 | 8 | 8 | 64
fiber patch cable |  |  |  | 4 | 15 | 60
Optical Filters (4-channel)
Lens | Thorlabs | 11mm fl, 780 nm, fiber-coupled lens | F220FC-780 | 8 | 160 | 1280
lens adapter | Thorlabs | adapter for coupling lens | ad11f | 8 | 20 | 160
mount | Thorlabs | Kinematic mount | KC1-T | 4 | 95 | 380
lens tube | Thorlabs | SM1 lens tube, 1" | SM1L10 | 8 | 15 | 120
plate | Thorlabs | Threaded Cage Plate | CP02 | 4 | 17 | 68
cage rods | Thorlabs | Cage assembly rod - 4" (4 pack) | ER4-p4 | 4 | 27 | 108
RG780 filter | Thorlabs | 780 nm longpass filter in filtering unit | FGL780 | 4 | 42 | 168
retaining ring | Thorlabs | For holding filters | SM1RR | 8 | 5 | 40
base | Thorlabs | base | BA1 | 4 | 6 | 24
2" post | Thorlabs | 2" post | TR2 | 4 | 5 | 20
2" post holder | Thorlabs | 2" post holder | PH2 | 4 | 8 | 32
fiber patch cable | Fibertronics | 1MM 62.5 miccron, duplex | PC-HH6D30V01M | 4 | 7 | 28
Grangier Experiment
Polarizing beamsplitter | Thorlabs | use with half-waveplate to make adjustable beamsplitter | PBS122 | 1 | 200 | 200
Polarizing beam splitter mount | Thorlabs |  | KM100PM | 1 | 76 | 76
Clamping arm for polarizing beam splitter mount | Thorlabs |  | PM3 | 1 | 19 | 19
Down conversion half-wave plate | Newlightphotonics.com |  | WPA03-H-810 | 1 | 309 | 309
rotation stage for half-wave plate | Thorlabs |  | RSP1D | 1 | 95 | 95
base | Thorlabs | base | BA1 | 2 | 6 | 12
2" post | Thorlabs | 2" post | TR2 | 2 | 5 | 10
2" post holder | Thorlabs | 2" post holder | PH2 | 2 | 8 | 16
finished to here
Single-Photon Interference
Beam Displacing Polarizers | Thorlabs | 4 mm beam displacement | BD40 | 2 | 670 | 1340
Down conversion half-wave plate | Newlightphotonics.com | (need 3, have one from Grangier) | WPA03-H-810 | 2 | 309 | 618
rotation stage for half-wave plate | Thorlabs |  | RSP1D | 2 | 95 | 190
beamdisplacing prism mounts | thorlabs | mount | km100 | 2 | 40 | 80
Stepper motor and controller | thorlabs | stepper motor | z806 | 1 | 654 | 654
cable | thorlabs | steepper controller | kdc101 | 1 | 677 | 677
adapter | thorlabs | power supply | kps101 | 1 | 35 | 35
base | Thorlabs | base | BA1 | 4 | 6 | 24
2" post | Thorlabs | 2" post | TR2 | 4 | 5 | 20
2" post holder | Thorlabs | 2" post holder | PH2 | 4 | 8 | 32
Hardy/Bell
Down-conversion crystals (double crystal) | Newlight Photonics | Paired BBO (2pcs) for photon entanglement, size 5x5x0.5 mm(each), cut for Type I PDC pumped by 405nm with the external half opening angle of 3 deg, theta=29.3deg., AR coated at 810/405 nm, mounted back-to-back with one crystal rotated by 90 degree about axis normal to incident face in an 1" anodized Al holder | PABBO5050-405(I)-HA3 | 1 | 1079 | 1079
0.5mm BBO crystal | Newlight Photonics | x-cut 10x10x0.5 mm quartz substrate polished on 2 sides NOTE: for better results, replace this with thin BBO (optional equipment, below) | NCBBO5050-405(I)-HA3 | 1 | 559 | 559
rochon polarizer | Newlight Photonics |  | RPB0110 | 2 | 979 | 1958
polarizer mounts | Thorlabs |  | KM100 | 2 | 40 | 80
and phase plate mount | Thorlabs |  | KM100 | 1 | 40 | 40
crystal mount | Thorlabs |  | KM100 | 1 | 40 | 40
base | Thorlabs | base | BA1 | 4 | 6 | 24
2" post | Thorlabs | 2" post | TR2 | 4 | 5 | 20
2" post holder | Thorlabs | 2" post holder | PH2 | 4 | 8 | 32
Quantum State Measurement
Quarter-wave plates | Newlightphotonics.com |  | WPA03-Q-810 | 2 | 309 | 618
rotation stage for quarter-wave plates | Thorlabs |  | RSP1D | 2 | 95 | 190
Tools
spanner wrench | Thorlabs | for Aspheric optics | SPW301 | 1 | 15 | 15
spanner wrench | Thorlabs | For SM1 lens tubes | SPW602 | 1 | 27 | 27
spanner wrench | Thorlabs | For fiber coupling lens focus adjustment | SPW909 | 1 | 29 | 29
fiber microscope | thorlabs | cleaning fibers | fs201 | 1 | 224 | 224
fiber cleaner | thorlabs | Cleans fiber tips | fcc-7020 | 1 | 23 | 23
SUB-TOTAL | [5 empty] | 26832.6 | This cost includes the Digikey detectors, not the ALPhA detectors
Optional Equipment
CCD Camera | maxmax.com | usb camera, IR sensitive | XNiteUSB2S-M | 2 | 85 | 170 | very useful for doing alignment. It lets you see the 800 nm alignment laser on your computer monitor
TAC | Ortec | Time-to-Amplitude Converter for observing timing of photon pairs (NOTE: you'll also need a NIM crate to plug this into--most labs have one lying around somewhere) |  |  |  |  | This is pretty old-school, you'll also need an MCA
TDC | s-fifteen.com | time-to digital converter | TDC1 | 1 | 1500 | 1500 | Only $1,500, but also only 2ns resolution. I've never used this, but it should work if all you want to do is show that photon pairs come at the same time. You could also use this as your coincidence counter.
Green LED safe-lights
TOTAL | [5 empty] | 28502.6